|  | Bioscience Lab Foundations Youth Apprenticeship |
| --- | --- |

# BIOSCIENCE LAB FOUNDATIONS

Bioscience Lab Foundations youth apprentices use laboratory equipment and tools to perform biological laboratory procedures. Apprentices must adhere to industry safety and security standards.

Length of Apprenticeship: One year.  This pathway is the prerequisite to second year Bioscience Applications program.

# Required Competencies

Youth apprentices must become proficient in both general employability and occupation-specific competencies.  All of these, and examples of how each can be demonstrated, are found in the following pages.  A total of 10 occupational competencies must be learned for this occupation.  Employers may substitute out one of these and should write in the competency they are adding.   Youth apprentices must be evaluated on these competencies at least two times each year of their apprenticeship.

Competencies

- Use aseptic technique - Prepare glassware and instruments - Prepare reagents, solutions, and/or buffers - Perform calculations and conversions - Weigh and measure substances - Operate lab equipment - Conduct testing according to protocol - Record testing results - Maintain testing records - Maintain lab inventory

# Registered Apprenticeship Bridging Opportunities

The following Registered Apprenticeship is available in this area:

- Biotechnology Lab Support Assistant

# Post-Secondary Pathway Opportunities

There are several post-secondary pathway opportunities in this area. The following is a partial list.

- Biotechnology Laboratory Technician

- Medical Laboratory Technician

|  | Bioscience Lab Foundations Youth Apprenticeship On-the-Job Learning Performance Standards Guide |
| --- | --- |

# Youth Apprentice information

Youth Apprentice Name

YA Coordinator

YA Consortium

School District

# SIGNATURES

The On-the-Job Learning Performance Standards Guide includes a list of competencies youth apprentices learn through mentoring and training at the worksite.

Instructions for the Worksite Employers/Mentors and School-Based or YA coordinators: This document should be reviewed with the employer/mentor, school-based or YA coordinator on a regular basis with the youth apprentice to record progress and plan future steps to ensure completion of the required competencies. Mentors, school-based/YA coordinator, and the apprentice sign below.

Employer/Mentor

1st Evaluation (Required)				2nd Evaluation (Required)

| Employer/Mentor Signature | Employer/Mentor Signature |
| --- | --- |
| Employer/Mentor | Employer/Mentor |
| Business/Company | Business/Company |
| Date Signed | Date Signed |

3rd Evaluation (Optional)				4th Evaluation (Optional)

| Employer/Mentor Signature | Employer/Mentor Signature |
| --- | --- |
| Employer/Mentor | Employer/Mentor |
| Business/Company | Business/Company |
| Date Signed | Date Signed |

School-Based and/or YA Coordinator

1st Evaluation (Required)				2nd Evaluation (Required)

| School-Based and/or YA Coordinator Signature | School-Based and/or YA Coordinator Signature |
| --- | --- |
| School-Based and/or YA Coordinator | School-Based and/or YA Coordinator |
| School District or Organization | School District or Organization |
| Date Signed | Date Signed |

3rd Evaluation (Optional)				4th Evaluation (Optional)

| School-Based and/or YA Coordinator Signature | School-Based and/or YA Coordinator Signature |
| --- | --- |
| School-Based and/or YA Coordinator | School-Based and/or YA Coordinator |
| School District or Organization | School District or Organization |
| Date Signed | Date Signed |

Youth Apprentice

1st Evaluation (Required)				2nd Evaluation (Required)

| Youth Apprentice Signature | Youth Apprentice Signature |
| --- | --- |
| Youth Apprentice | Youth Apprentice |
| School District / High School | School District / High School |
| Date Signed | Date Signed |

3rd Evaluation (Optional)				4th Evaluation (Optional)

| Youth Apprentice Signature | Youth Apprentice Signature |
| --- | --- |
| Youth Apprentice | Youth Apprentice |
| School District / High School | School District / High School |
| Date Signed | Date Signed |

# employability Skills (TO BE COMPLETED BY yA EMPLOYER/MENTOR)

All youth apprentices must demonstrate the key employability skills listed below in order to complete the YA program.  They do so by earning at least a "Meets Expectation" rating in each.  At least two evaluations are required each year of a youth apprenticeship.  More columns are included below for those who choose to conduct more frequent reviews.

| 1 | Working to Meet Expectations: Needs improvement; requires much assistance and supervision; rarely displays this behavior |
| --- | --- |
| 2 | Meets Expectations: Meets entry-level criteria; requires some supervision; often displays this behavior |
| 3 | Exceeds Expectations: Exceeds entry-level criteria; requires minimal supervision; consistently displays this behavior |

|  | Employability Skills | Rating |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Competency and Rating Criteria |  | Year One Evaluation Rating |  |  |  |
|  |  | Initial | Mid Year 1 | Mid Year 2 | Final |
| - Develops positive work relationships with others. Examples of qualities and habits that the employee might exhibit include . . . - Interacts with others with respect and in a non-judgmental manner - Responds to others in an appropriate and non-offensive manner - Helps co-workers and peers accomplish tasks or goals - Applies problem-solving strategies to improve relations with others - When managing others, shows traits such as compassion, listening, coaching, team development, and appreciation |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Communicates effectively with others Examples of qualities and habits that the employee might exhibit include . . . - Adjusts the communication approach for the target audience, purpose, and situation to maximize impact - Organizes messages/information in a logical and helpful manner - Speaks clearly and writes legibly - Models behaviors to show active listening - Applies what was read to actual practice - Asks appropriate questions for clarity |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Collaborates with others Examples of qualities and habits that the employee might exhibit include . . . - Works effectively in teams with people of diverse backgrounds regardless of sex, race, ethnicity, nationality, sexuality, religion, political views, and abilities - Shares responsibility for collaborative work and decision making - Uses the problem-solving process to work through differences of opinion in a constructive manner to achieve a reasonable compromise - Avoids contributing to an unproductive group conflict - Shares information and carries out responsibilities in a timely manner |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Maintains composure under pressure Examples of qualities and habits that the employee might exhibit include . . . - Uses critical thinking to determine the best options or outcomes when faced with a challenging situation - Carries out assigned duties while under pressure - Acts in a respectful, professional, and non-offensive manner while under pressure - Applies stress management techniques to cope under pressure |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Demonstrates integrity Examples of qualities and habits that the employee might exhibit include . . . - Carries out responsibilities in an ethical, legal and confidential manner - Responds to situations in a timely manner - Takes personal responsibility to correct problems - Models behaviors that demonstrate self-discipline, reliability, and dependability |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Performs quality work Examples of qualities and habits that the employee might exhibit include . . . - Carries out written and verbal directions accurately - Completes work efficiently and effectively - Performs calculations accurately - Conserves resources, supplies, and materials to minimize costs and environmental impact - Uses equipment, technology, and work strategies to improve workflow - Applies problem-solving strategies to improve productivity - Adheres to worksite regulations and practices - Maintains an organized work area |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Provides quality goods or services (internal and external) Examples of qualities and habits that the employee might exhibit include . . . - Shows support for the organizational goals and principles by own personal actions - Displays a respectful and professional image to customers - Displays an enthusiastic attitude and desire to take care of customer needs - Seeks out ways to increase customer satisfaction - Produces goods to workplace specifications |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Shows initiative and self-direction Examples of qualities and habits that the employee might exhibit include . . . - Prioritizes and carries out responsibilities without being told - Responds with enthusiasm and flexibility to handle tasks that need immediate attention - Reflects on any unsatisfactory outcome as an opportunity to learn - Improves personal performance by doing something different or differently - Analyzes how own actions impact the overall organization - Supports own action with sound reasoning and principles - Balances personal activities to minimize interference with work responsibilities |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Adapts to change Examples of qualities and habits that the employee might exhibit include . . . - Shows flexibility and willingness to learn new skills for various job roles - Uses problem-solving and critical-thinking skills to cope with changing circumstances - Modifies own work behavior based on feedback, unsatisfactory outcomes, efficiency, and effectiveness - Displays a "can do" attitude |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Demonstrates safety and security regulations and practices Examples of qualities and habits that the employee might exhibit include . . . - Follows personal safety requirements - Maintains a safe work environment - Demonstrates professional role in an emergency - Follows security procedures - Maintains confidentiality |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Applies job-related technology, information, and media Examples of qualities and habits that the employee might exhibit include . . . - Applies technology effectively in the workplace - Assesses and evaluates information on the job - Assesses training manuals, website, and other media related to the job |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Fulfills training or certification requirements for employment Examples of this requirement may include . . . - Participation in required career-related training and/or educational programs - Passing certification tests to qualify for licensure and/or certification - Participation in company training or orientation |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - Sets personal goals for improvement Examples of this requirement may include . . . - Setting goals that are specific and measurable - Setting work-related goals that align with the organization's mission - Identifying strategies to reach goals - Reflecting on goal progress to regularly evaluate and modify goals |  | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |

# occupational Competencies 
(TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Youth apprentices must earn a rating of at least "MEETS EXPECTATIONS" in each competency by the conclusion of the apprenticeship.  A total of 10 competencies, 9 must be from the list below.  If necessary, employers can substitute one competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.  At least two evaluations are required each year of a youth apprenticeship.  More columns are included below for those who choose to conduct more frequent reviews.

| 1 | Working to Meet Expectations: Needs improvement; requires much assistance and supervision; rarely displays this behavior |
| --- | --- |
| 2 | Meets Expectations: Meets entry-level criteria; requires some supervision; often displays this behavior |
| 3 | Exceeds Expectations: Exceeds entry-level criteria; requires minimal supervision; consistently displays this behavior |

| Occupational Competencies | Ratings |  |  |  |
| --- | --- | --- | --- | --- |
| Competency and Rating Criteria | Evaluation Minimum Rating of 2 EACH Check Rating |  |  |  |
|  | Initial | Mid Year 1 | Mid Year 2 | Final |
| ###### Use aseptic technique - follow safety protocols and precautions - wear the appropriate Personal Protective Equipment (PPE) - disinfect surfaces before and after use - gather all materials prior to beginning procedure - prevent unwanted air current flow from doors and windows - sterilize equipment, reagents and/or supplies - hold caps or tops when removing them - prevent unwanted exposure to uncontrolled environment - keep lids on as much as possible - avoid talking, sneezing, coughing when working with exposed analytes - discard contaminated materials properly | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Prepare glassware and instruments - follow safety protocols and precautions - wear the appropriate Personal Protective Equipment (PPE) - disinfect glassware and instruments before and after use - use proper solution of detergent - remove all residual matter - place cleaned and dried items in sterilization pouches or wraps - label and seals items properly - document cleaning procedure - return clean glassware and instruments to proper storage locations | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Prepare reagents, solutions, and/or buffers - follow safety protocols and precautions - wear the appropriate Personal Protective Equipment (PPE) - determine the concentration and amount required - calculate the amount of solute and solvent - verify calculation accuracy - measure the solute and solvent - combine solute and solvent appropriately - return solute and solvent to proper storage area - label and store prepared item - clean work area | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Perform calculations and conversions - identify unknown values - determine the calculations or conversions and formulas - verify calculations or conversions with worksite professional - record calculations or conversions | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Weigh and measure substances - follow safety protocols and precautions - wear the appropriate Personal Protective Equipment (PPE) - verify equipment is usable and current for calibration - select appropriate unit for measurement - record measurements in appropriate units - clean work area - convert measurements | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Operate lab equipment - follow safety protocols and precautions - wear the appropriate Personal Protective Equipment (PPE) - Choose correct equipment for the task - Verify equipment is available for use and in working order - Verify safety requirements and any Personal Protective Equipment (PPE) needed for equipment use - Inspect equipment and work area for safety considerations - Prepare equipment for safe operation - Monitor equipment for safe operation while operating - Follow shut down procedures - Label equipment not operating as expected - Report abnormal equipment conditions - Document use - Clean work area | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Conduct testing according to protocol - Follow safety protocols and precautions - Wear the appropriate Personal Protective Equipment (PPE) - choose correct equipment for the task - prepare reagents, solutions, and/or buffers - prepare controls - identify the sample(s) to be tested - prepare samples for testing - test sample(s) - use aseptic lab technique and standard/universal precautions - records results - clean glassware and instruments - dispose of chemical, biohazardous, or infectious waste | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Record testing results - select appropriate forms/records - use appropriate note-taking methods - record results, readings, measurements, calculations, times, etc. with appropriate scientific units - record your identification - report discrepancies or unexpected results - document final testing data | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| ###### Maintain testing records - follow data security procedures - select appropriate forms/records - label and/or code documents - file forms/records in appropriate location - use appropriate computer codes, formatting, macros, charts, spreadsheets, etc. - verify data prior to entry/storage - update data in files | 1 2 3 | 1 2 3 | 1 2 3 | 1 2 3 |
| - 10. Maintain lab inventory - check incoming containers for damage or contamination - verify items ordered match the purchase order and description - identify defective items - process defective items - perform inventory checks - maintain proper storage levels - rotate items to minimize old and outdated inventory - monitor temperature and atmospheric controlled spaces | 1 2 ###### 3 | 1 2 ###### 3 | 1 2 ###### 3 | 1 2 ###### 3 |
| ###### Competency Substitute (if you replaced a competency above, note the competency and rating) | 1 2 ###### 3 | 1 2 ###### 3 | 1 2 ###### 3 | 1 2 ###### 3 |
| Comments: |  |  |  |  |

No part of this document may be altered, duplicated, or extracted without written consent from the Wisconsin Department of Workforce Development (DWD).

DWD is an equal opportunity employer and service provider. If you have a disability and need assistance with this information, please dial 7-1-1 for Wisconsin Relay Service. Please contact the Division of Employment and Training at 888-258-9966 and press 6 to request information in an alternate format, including translated to another language.